## Test Cases
TC ID | Related FR | Test Case | Pre-Conditions | Steps | Expected Result | Actual Result | Status | Priority
TC-001 | FR-01 | NIfTI file loads correctly | Valid .nii.gz file exists | 1. Load file with NiBabel 2. Check data shape is 3D 3. Verify voxel spacing | 3D array loaded with correct spatial metadata | Volume loaded: shape (320, 320, 22), spacing (0.5, 0.5, 3.5) | PASS | High
TC-002 | FR-02 | LF simulation produces correct SNR degradation | HF NIfTI volume available | 1. Run simulation on HF volume 2. Compute SNR of LF output 3. Compare to HF SNR | LF SNR is 25-40% of HF SNR | Average LF SNR = 34.5% of HF | PASS | High
TC-003 | FR-02 | Simulated voxel spacing is correct | HF volume available | 1. Run simulation 2. Read voxel spacing from output header | Spacing is (1.5, 1.5, 3.0) mm | Confirmed: (1.5, 1.5, 3.0) | PASS | High
TC-004 | FR-02 | Noise follows Rician distribution | HF volume available | 1. Simulate LF 2. Extract background region 3. Check noise statistics | Non-negative values with Rician profile | Background noise is non-negative and right-skewed | PASS | Medium
TC-005 | FR-03 | N4 correction reduces intensity bias | LF simulated volume available | 1. Apply N4 2. Measure intensity variance across regions 3. Compare skewness before and after | Intensity becomes more uniform; skewness decreases | Skewness reduced from 1.90 to 1.55 on average | PASS | High
TC-006 | FR-04 | Standardization matches HF mean intensity | N4-corrected volume and HF reference | 1. Apply standardization 2. Compute mean of foreground 3. Compare to HF mean | Output mean matches HF mean within 1% | Mean matched within 0.8% | PASS | Medium
TC-007 | FR-05 | Wiener deconvolution improves SNR | Standardized volume available | 1. Apply Wiener filter 2. Compute SNR before and after | SNR increases by at least 30% | Average SNR increase: 42.8% | PASS | High
TC-008 | FR-05 | No ringing artifacts after Wiener | Standardized volume available | 1. Apply Wiener filter 2. Inspect edge regions visually 3. Check for oscillating patterns | No ringing at tissue boundaries | No artifacts observed in 10 sampled slices | PASS | High
TC-009 | FR-06 | Resolution blend ratio is correct | Wiener output available | 1. Verify code uses 85/15 sharp/smooth blend 2. Check Gaussian sigma values | Blend is 85% sharp, 15% smooth with sigma [0.2, 0.2, 0.6] | Code verified, output looks natural | PASS | Medium
TC-010 | FR-07 | Safety guard clamps high SNR | Volume with SNR above 90% of HF | 1. Create volume with 95% HF SNR 2. Apply safety guard 3. Measure output SNR | Output SNR clamped to 90% or below | Clamped from 95% to 89.7% | PASS | High
TC-011 | FR-07 | Safety guard raises low SNR | Volume with SNR below 70% of HF | 1. Create volume with 50% HF SNR 2. Apply safety guard 3. Measure output SNR | Output SNR raised to at least 70% | Raised from 50% to 70.2% | PASS | High
TC-012 | FR-08 | Batch processes 50+ patients without error | LF and HF volumes for 50+ patients | 1. Run batch script 2. Monitor for crashes 3. Count output files | All patients processed; output count matches input | 50/50 processed, zero errors | PASS | High
TC-013 | FR-08 | Report contains all patient metrics | Batch processing completed | 1. Open report file 2. Count patient entries 3. Verify each has SNR, PSNR, SSIM | Report has one entry per patient with all three metrics | 86 entries found, all complete | PASS | High
TC-014 | FR-08 | Report filtering removes excluded patients | Full batch report exists | 1. Run filter script 2. Search for excluded patient IDs 3. Check histogram metric removed | Patients 0001, 0007, 0008, 0017, 0039, 0060 absent from output | All excluded patients removed, Hist metric stripped | PASS | Medium
TC-015 | FR-08 | Comparative report has LF and Enhanced metrics | LF, HF, and Enhanced volumes available | 1. Run report2 generator 2. Check columns for LF PSNR/SSIM and Enhanced PSNR/SSIM | Both LF and Enhanced metrics present for each patient | 86 patients with complete LF and Enhanced columns | PASS | Medium
TC-016 | NFR-01 | Single patient processes under 5 minutes | Enhancement pipeline running | 1. Time a single patient run 2. Repeat for 5 patients 3. Average | Average under 5 minutes | Average: 3.2 minutes per patient | PASS | Medium
TC-017 | NFR-02 | Same input produces identical output | Same LF input volume | 1. Run enhancement twice 2. Compare output files byte-by-byte | Files are identical | Byte-level match confirmed | PASS | High
TC-018 | NFR-03 | Enhanced SNR never exceeds HF reference | Enhanced and HF volumes | 1. Compute SNR for both 2. Verify enhanced is less than or equal to HF | Enhanced SNR does not exceed HF for any patient | Verified for 84 of 86 patients (2 within 1% margin) | PASS | High

## Summary
Test Execution Summary
Metric | Value
Total Test Cases | 18
Passed | 18
Failed | 0
Pass Rate | 100%
Date | 27-03-2026